Attachments

## Attachment A – Laboratory and Research Areas Closure Checklist: Preparations for Tropical Weather/Hurricanes

Departments are responsible for taking protective actions in their own laboratories. This checklist is designed to identify suggested tasks and assignment of responsibilities for preparing laboratory areas. Not all items are appropriate for all areas. Departments and researchers should add actions specific to their individual laboratories if needed. The checklist should be completed as a part of Appendix B – Tropical Weather Plan.

When impacts from tropical weather are possible, consider necessary preparations to suspend ongoing experiments involving biological materials, radioactive agents and hazardous chemicals. When UF suspends normal operations, postpone operations in the laboratory, secure equipment and complete the checklist. Note, personnel should not stay in the laboratory during a storm if UF has suspended normal operations.

Additional mitigation steps can be taken year-round to reduce impacts from tropical weather and other incidents, including:

- Keep chemical, radiological and biohazardous materials in your inventory to a minimum.

- Dispose of hazardous wastes and old chemicals routinely to minimize accumulation of hazardous materials in your facility.

- Laboratories with exterior windows should identify a secure area for storage of water reactive chemicals, radioactive materials and biohazardous agents. Ideally, materials with significant, potential hazard should be moved to interior rooms. (e.g. – solvents containing reactive metals, glove boxes containing air reactives)

- If dry ice will be needed pre- or post-incident, document vendor information, payment method and delivery or pick-up options.  Note, dry-ice should not be transported in a closed vehicle for safety of the occupants.

- Maintain a supply of plastic, waterproof containers to store reactive chemicals, lab notes, research documentation, electronic data and other important materials.

- Plan in advance how to ensure the protection of valuable research equipment, samples and data.

- Contact appropriate work management center (PPD, IFAS Facilities) if planning to use portable generator to determine appropriate and safe use, connection and fueling. Note, portable generators are normally not provided by work management centers.

- Maintain a stock of critical supplies to prevent disruptions.

- Update and distribute emergency and contact information to laboratory personnel. Regularly maintain emergency call list on the notice board at the laboratory door.

|  | Action/Task | Location | Staff Responsible |  | Notes |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Primary | Alternate |  |
|  | Turn down refrigerators and freezers to the lowest practical settings and plug into emergency power where available. Red outlets typically designate emergency power. |  |  |  |  |
|  | Place recording maximum/minimum thermometers in refrigerators and freezers containing temperature critical supplies and samples. |  |  |  |  |
|  | Plug incubators into emergency power outlets if you must maintain cultures in vitro. |  |  |  |  |
|  | Cover and secure or seal vulnerable equipment with plastic. |  |  |  |  |
|  | Remove or secure equipment from outdoor and rooftop locations. |  |  |  |  |
|  | Ensure arrangements have been made for the care and feeding of laboratory animals. Follow recommended actions of UF Animal Care Services. |  |  |  |  |
|  | In areas subject to flooding, relocate or elevate equipment, chemicals, wastes and other important items from the floor to prevent damage. |  |  |  |  |
|  | Secure radioactive isotopes, biohazardous agents, recombinant materials and hazardous chemicals to prevent breakage and release. |  |  |  |  |
|  | Fill dewars and cryogen reservoirs for sample storage and/or critical equipment. |  |  |  |  |
|  | Over-pack reactive chemicals in plastic, waterproof containers. |  |  |  |  |
|  | Remove regulators and cap gas cylinders, except for CO2 needed to maintain cell cultures. Ensure all cylinders are secure. |  |  |  |  |
|  | Autoclave or inactivate infectious or rDNA waste. |  |  |  |  |
|  | Due to the possibility of power outages, store volatile, toxic materials in tightly sealed, break-resistant containers rather than fume hoods or open room. |  |  |  |  |
|  | Protect valuable files, research samples and notebooks in place or move to a safer location. |  |  |  |  |
|  | Protect notebooks and secure samples/data as necessary for colleagues unable to reach the lab. |  |  |  |  |
|  | Update emergency contact information including notification list on lab door. Add and expand temporary contact information if staying at a different location during storm. |  |  |  |  |
|  | Close and latch (or secure with tape if needed) filing cabinets and cupboards. |  |  |  |  |
|  | Back-up electronic data and store in multiple locations. |  |  |  |  |
|  | Follow IT provider instructions for computer equipment preparations. |  |  |  |  |
|  | Close and lock all doors and windows before leaving. |  |  |  |  |
|  | If appropriate, complete Attachment C – Vehicle Assignments for Tropical Weather. |  |  |  |  |
|  | If appropriate, complete Attachment B – Office and Administrative Areas Checklist. |  |  |  |  |

## Attachment B – Administrative and Office Areas Closure Checklist: Preparations for Tropical Weather/Hurricanes

Departments are responsible for taking protective actions in their own office and administrative areas. This checklist is designed to identify suggested tasks and assignment of responsibilities for preparing work areas. Not all items are appropriate for all areas. Departments should add actions specific to their individual work areas if needed. The checklist should be completed as part of Appendix B- Tropical Weather Plan.

When impacts from tropical weather are possible, consider necessary preparations to protect equipment, records and data. When UF suspends normal operations, prepare to close office and administrative areas and complete the checklist. Note, personnel should not stay in work areas, unless involved with essential operations, during a storm if UF has suspended normal operations.

Additional mitigation steps can be taken year-round to reduce impacts from tropical weather and other incidents, including:

- Plan in advance how to ensure the protection of files, records and valuable equipment.

- Obtain and store needed supplies, such as plastic sheeting to cover equipment and files.

- Discuss preparatory actions with personnel and assign responsibilities.

- Update and distribute emergency and contact information to personnel.

|  | Action/Task | Location | Staff Responsible |  | Notes |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Primary | Alternate |  |
|  | Cover and secure vulnerable equipment with plastic. |  |  |  |  |
|  | When possible, move equipment and other valuable items into interior areas of the building away from windows. Tag moved equipment with department contact information for easy identification and retrieval. |  |  |  |  |
|  | In areas subject to flooding, relocate equipment and other valuable items to a higher floor or elevate. Tag moved equipment with department contact information for easy identification and retrieval. |  |  |  |  |
|  | Remove or secure equipment from outdoor and rooftop locations. |  |  |  |  |
|  | Clear refrigerators and freezers of items that could spoil if power is lost, but leave appliance plugged in. |  |  |  |  |
|  | Place important records and files in cabinets and cover with plastic. |  |  |  |  |
|  | Close and latch (or secure with tape if needed) filling cabinets and cupboards. |  |  |  |  |
|  | Back-up electronic data and store in multiple locations. |  |  |  |  |
|  | Follow IT provider instructions for computer equipment preparations. |  |  |  |  |
|  | Clear desktops, tables and exposed horizontal surfaces of materials subject to damage. |  |  |  |  |
|  | Place telephone in desk drawer if the cord is long enough. Do not unplug telephones. |  |  |  |  |
|  | Take personal possessions home. UF is not responsible for personal items damaged. |  |  |  |  |
|  | Secure windows and close blinds. |  |  |  |  |
|  | Change voice mail to indicate UF closure. |  | All |  |  |
|  | Close and lock all doors, including office doors, before leaving. |  |  |  |  |
|  | If appropriate, complete Attachment C – Vehicle Assignments for Tropical Weather |  |  |  |  |
|  | If appropriate, complete Attachment A – Laboratory and Research Areas Checklist |  |  |  |  |

## Attachment C – Tropical Weather Vehicle Assignments

When completed copy, distribute and store in a known location

Reference Appendix B (Tropical Weather Plan), Section IV.B.4 - Departments will park fueled vehicles in a secure location.  Interior sections of parking garages or in parking lots away from trees are appropriate locations. Normally, this task should be completed by the vehicle’s primary user.

|  | Vehicle # | Vehicle Parking Location | Vehicle Key Location | Responsible Person |
| --- | --- | --- | --- | --- |

## Attachment D – Essential Contacts During Suspended Operations

Complete for personnel staying on Campus during suspended operations and email this form / information to University Police Department at UPDDispatch@admin.ufl.edu.

Reference Appendix B (Tropical Weather Plan) - Departments with employees conducting essential functions during the storm will complete the contact information form and email to the University of Florida Police Department (UFPD).

Date_____________________________

Sent by___________________________

Department________________________

| Building # / Name | Contact Name/ UFID | Phone Number(s) during event | Required Activity |
| --- | --- | --- | --- |

## Attachment E – Initial Damage Assessment Form

## Attachment F – Information Posting

Please complete and display information (or equivalent) where notices are posted in your area

UF Building Name: ____________________________	Street Address: ____________________________________

UF Building Number: ______________________________________________________________________________

Building Emergency Coordinator (BEC) for ____ [insert department] ________________ in this building:

|  | Primary | Alternate |
| --- | --- | --- |
| Name |  |  |
| Work Telephone |  |  |
| Email |  |  |
| Office Location |  |  |
| Other |  |  |

| Emergency Telephone Numbers |  |  |
| --- | --- | --- |
| Department | Normal Business Hours | Evenings/Weekends |
| Fire/Police/Medical | 911 | 911 |
| University Police Department | 352-392-1111 | 352-392-1111 |
| Environmental Health & Safety | 352-392-1591 | 352-392-1111 |
| Pest Control (UF) | 352-392-3410/392-1591 | 352-392-1111 |
| Biological Spill (UF) | 352-392-1591 | 352-392-1111 |
| Chemical Spill (UF) | 352-392-8400/392-1591 | 352-392-1111 |
| Radiation Spill (UF) | 352-392-7359/392-1591 | 352-392-1111 |
| Needlestick-BioPath Hotline | 866-477-6824 | 866-477-6824 |
| UF Workers’ Compensation | 352-392-4940 |  |
| Florida Poison Information Center | 800-222-1222 | 800-222-1222 |

| Work Management Centers |  |
| --- | --- |
| Physical Plant Department Work Management | 352-392-1121 |
| IFAS Facilities Operation | 352-392-1984 |
| Housing & Residence Education | 352-392-2161 |

[If off campus, insert building management contact information]

## Attachment G – Acronyms

AAALAC: Association for Assessment and Accreditation of Laboratory Animal Care International

CEMP: Comprehensive Emergency Management Plan

CSHEMA: Campus Safety and Environmental Health Association

COOP: Continuity of Operations

EOC: Emergency Operations Center

ICS: Incident Command System

IT: Information Technology

NIMS: National Incident Management System

TBD: To be developed

UF: University of Florida

UPD: University Police Department

{Review and add others as needed}

## Attachment H – Definitions

Continuity of Operations (COOP): Maintaining or resuming department critical operations despite a disruption or emergency.

Comprehensive Emergency Management Plan (CEMP). The CEMP is intended to establish policies, procedures, and an organizational structure for the response to emergencies that are of sufficient magnitude to cause a significant disruption of the functioning of all or portions of the University.

Emergency Operations Center (EOC). The EOC serves as the centralized, well-supported location in which the Emergency Operations Team and the Executive Management Team may gather and assume their respective roles.

National Incident Management System (NIMS). NIMS is a modular emergency management system designed for all hazards and levels of emergency response. The system is used by the Department of Homeland Security and throughout the United States as the basis for emergency response management.

[Insert other definitions specific to the Department as appropriate]

## Attachment I – Resource List

- University of Florida Comprehensive Emergency Management Plan

- https://emergency.ufl.edu/emergency-management-plans

- University of Florida Safety Programs and Policies:

- Emergency Evacuation Procedures for People with Disabilities: www.ehs.ufl.edu/programs/ada/emergency/

- Community Awareness Brochures from the University Police Department: www.police.ufl.edu/community-services/community-awareness-brochures/

- Emergency Management Resources

- University of Florida Emergency Management: https://emergency.ufl.edu/

- Alachua County Division of Emergency Management: www.alachuacounty.us/Depts/PublicSafety/em/Pages/EmergencyManagement.aspx

- Florida Division of Emergency Management: https://www.floridadisaster.org/

- National Incident Management System (NIMS): https://www.fema.gov/national-incident-management-system

[Insert additional resources for the department that may be helpful to reference in this Plan]

## Attachment J – Employees with Emergency Roles

| Name | Title (Emergency Role) | Email Address | Work # | Home # | Cell # | Other # |
| --- | --- | --- | --- | --- | --- | --- |

## Attachment K – Vendors and Partners

In the event of an emergency, the [insert department] will reference the following tables to determine appropriate stakeholders to contact regarding the emergency, including vendors that may provide resources to the Department during an emergency:

| Vendor/Supplier | Service Provided | Emergency Contact | Alternate Source | Notes |
| --- | --- | --- | --- | --- |

| Grant Funding Organizations | Associated Projects | Emergency Contact | Notes |
| --- | --- | --- | --- |

| Partners | Associated Projects | Emergency Contact | Notes |
| --- | --- | --- | --- |